Submittal Checklist: Community Solar Site Development Plan

Community solar projects are considered a permitted use in all zoning Districts. Subject to Administrative Approval of a Site Development Plan.

Community Solar Facility: is a facility governed by the 2021 New Mexico Community Solar Act (as may be amended) that generates, and may store, electricity by means of a solar photovoltaic device; subscribers to the facility receive a bill credit for the electricity generated in proportion to the subscriber's share of the facility's kilowatt-hour output.

Forms in the packet to be completed:

- Santa Fe County Development Application (filled out and signed)

- Public Works Department Access Permit Application form (if accessing off of a County Road)

Documents applicant to provide (available in the building):

- Recorded Warranty Deed (available in Santa Fe County Clerk’s Office)

- Approved Survey Plat signed by Land Use Administrator (available in Santa Fe County Clerk’s Office) Public Notice Plats will not be accepted.

- Proof of Taxes Paid (available in Santa Fe County Treasurers Office) Tax Bills will not be   accepted

- Approved Emergency 911 Assigned Address Form (Rural Addressing Department)

Documents Applicant to provide:

- State approval of the Community Solar Facility shall be submitted prior to development permit issuance

- NMDOT Access Permit (if accessing off of a State Highway)

- Notarized Letter of Consent from Property Owner

- Written Report (Addressing Pertinent Design Standards outlined in Chapter 7 and Ordinance 2022-05) number of copies will be determined prior to submittal. (digital copies will also be required)

- Detailed Site Development Plan (Addressing Pertinent Design Standards outlined in Chapter 7 and Ordinance 2022-05) number of copies will be determined prior to submittal. (digital copies will also be required)

The following Study Report and Assessment (SRA) may be required (Section 6):

- Environmental Impact Report (EIR Section 6.1.2.1) if applicable.

The following design standards and Ordinance 2022-05, requirements shall be addressed both in the written report and the Detailed Site Development Plan:

- Access and Easements (Section 7.4 and Ordinance 2022-05)

- Fire Protection Plan (Section 7.5)

- Fences and Walls (Section 7.7)

* the maximum height of walls or fences shall not exceed eight feet

* fencing with six (6) inch knots for wildlife is recommended (Ordinance 2022-05)

- Lighting (Section 7.8)

* a lighting analysis may be required if applicable

- Signs (Section 7.9)

- Road Design Standards/Plan & Profile (Section 7.11)

- Utilities (Section 7.12)

- Protection of Historic and Archaeological Resources (Section 7.16)

- Terrain Management (Section 7.17)

- Flood Prevention and Flood Control (Section 7.18)

- Financial Guaranty (Section 7.22)

- Infrastructure and Right-of-Way Dedication (Section 7.26)

- Traffic Circulation Plan, including egress and ingress for emergency vehicles.

- Structure Elevations

Ordinance 2022-05 Requirements:

- Buffering and screening is not required for ground mounted facilities. If fencing is proposed for security purposes, agricultural fencing with six (6) inch knots for wildlife is recommended.

- External access roads for ground mounted facilities may reduce the road easement width for off-site and on-site driveways to no less than twenty (20) feet if adequate drainage control is provided and may allow the surface to be hard packed dirt with compaction of 95% of the maximum density.  If the access road adjoins a paved road, an asphalt or concrete apron of ten (10) feet in width will be required to protect the pavement.

- On-site driveways for ground-mounted facilities may reduce standards as identified in Section 7.11.12.2 (additional standards for residential driveways), as access will be minimal for this type of development.

- Disturbed area shall be reseeded with drought tolerant native plant species for pollinator friendly habitat. Weeds and plant materials shall be properly managed to reduce fire risks.

- A five (5) foot setback is required on all sides of a community solar facility that is twenty (20) feet in height or less.  A community solar facility that is over twenty (20) feet in height shall meet the setback requirements of the zoning district in which the facility is located.

- Community solar facilities located on a non-residential or multi-family rooftop shall be allowed to be eight (8) feet higher than the building height limit in the district, so long as those rooftops are not single-family residences. Rooftop community solar facilities shall be set back five (5) feet from the sides of the building.

- Community solar facilities shall be set back three-hundred (300) feet from rivers, streams, wetlands and all riparian areas.

Additional Submittals may be required at time of Application review.  Application fees shall be required at time of submittal as per Ordinance No. 2016-8.

Site Development Plan Procedure (SDP)

- Pre-application Meeting with Staff

- Pre-Application TAC Meeting (Section 4.4.3 & Table 4-1)

- Pre-Application Neighborhood Meeting (Section 4.4.4 & Table 4-1)

- Contact Staff to Submit SDP/DP

- 14 Day Completeness Review (Section 4.4.6)

- Refer SDP to Review Agencies - 30-day Review (Section 4.4.7)

- Approved SDP showing the site layout and conditions of approval shall be recorded with the County Clerk (Section 4.8.2)

Revised 07/28/2022